## Slide 1: Modeling Infrastructure Failures: From Flood Damage in Urban Areas to Power Grid Blackouts
Daniel Bienstock
Columbia University

## Slide 2: Ongoing work: NSF CRISP
joint with George Deodatis, Heather Lazrus, Kyle Mandli and Rebecca Morris
focus: protecting coastal infrastructure under risk from changing climate
integrating: modeling, optimization, social science

## Slide 3
Battery Tunnel post-Sandy (10/2012)
Power outage in Lower Manhattan, post-Sandy
Storm surge barrier construction, New Orleans

## Slide 4: Project premises
Infrastructure threatened by climate change
Threat most acute along coastlines
Interdependent Critical Infrastructure
(ICI) at risk, but
ICI important not just along coastlines
diminished ICI impacts inland populations
Example: power grid impacted along coast, but effects cascade far inland

## Slide 5: A few facts
Hurricane Sandy (2012): $67 billion in damage
Typhoon Haiyan (2013, Philippines): 6000 lives
Over 1-meter sea level rise predicted by the end of the century
More big storms!
How do we plan? What is the methodology?
How to perform agnostic risk assessments?

## Slide 6: Focus: NYC
Transportation at the top of the list
Subway especially important
Subway infrastructure is flood-prone
Subway ventilation systems, electrical, all vulnerable
Restoration, today, is problematic
Amtrak, NJ Transit, LI Railroad, Metro-North:
regional transportation systems interconnected
with NYC’s subway

## Slide 7: Focus: NYC
Power grid at risk
Power grid: distribution system (lower voltage)
But complex in the case of NYC
Many underground assets (power lines, transformers)
Real-time knowledge not always available
But fast reaction to events, critical
Damage magnifier: NYC imports a substantial amount of its power. But damage to infrastructure near NYC could imply 100% loss

## Slide 8: Focus: NYC
Power grid at risk: a primer on cascades
Exogenous event (e.g. storm) damages electrical equipment
But power keeps flowing (drawn by demand)
Power flows obey laws of physics (hard to predict and not necessarily what we want)
New power flows may overload equipment
Such equipment may (perhaps rapidly) shut down to protect itself
We have lost more power grid assets
Go to 2
Eventually this process may accelerate and cut-off large sectors of demand

## Slide 9: Focus: NYC
Power grid at risk: what is needed
Fast, accurate meters for situational awareness
Algorithmic intelligence to make sense of what the meters report, in near-real time
Computational studies
Ability and willingness to perform real-time hedging

## Slide 10: Focus: NYC
Emergency services
Especially critical after a big storm
What is included:
Distribution of services via transportation
Coordination between services, hospitals
During Sandy, evacuation of e.g. Bellevue Hospital was a large and dangerous operation
The ability to continue operation is not enough: if a hospital is surrounded by a flooded area then emergency vehicles cannot reach the hospital
This was experienced during and after Sandy

## Slide 11: Focus: NYC
Summary: interdependency is critical
Flooding, winds, caused loss of power
Loss of power required evacuation of Bellevue
Flooding, winds made evacuation difficult
Flooding rendered other medical/treatment facilities unavailable
Emergency power generators available but lengthy loss of power limited their usefulness

## Slide 12: What data do we have
Detailed map of subway system and all tunnels available (from MTA and Port Authority)
Includes critical elevations of all openings (entrances, ventilation)
Size of openings
Exact mapping of all stations (locations, dimensions)
Above ground transportation system map:
Location and elevations of all streets, plus
Some selected bus depots, subway car parking areas
Critical Medical Facilities:
Location and critical elevations of all hospitals, etc
Includes data on all openings through which water can enter premises
Stakeholder interview process

## Slide 13: Proposed methodology

## Slide 14: GIS-Based Dynamic Flood Risk Simulator Deodatis, Jacob, et al (2011)

## Slide 15: GIS-Based Dynamic Flood Risk Simulator Deodatis, Jacob, et al (2011)
Fast but less accurate
Detailed model with resolution of 1 ft for above ground structures
Very detailed model for underground infrastructure
Overall estimation requires approx 1 CPU second

## Slide 16: GeoClaw model Mandli, LeVeque et al, 2016
Slower than GIS system but much more accurate
Finite volume, wave-propagation numerical method
Uses AMR (adaptive mesh refinement)
AMR places computational resources to use “where it matters”
Has been benchmarked/validated using tsunamis, hurricane driven storm surge
Comparable in accuracy to ADCIRC, but approx. 1000 times faster.

## Slide 17: GeoClaw model: adaptive discretization

## Slide 18: GeoClaw model: adaptive discretization

## Slide 19: Storm surge model

## Slide 20: GeoClaw model: adaptive discretization

## Slide 21: GeoClaw model Mandli et al, 2016
.
Simulation of Hurricane Ike
4 thread: 2 hours

## Slide 22: Social Science Methodology
Stakeholder interviews
Interviewees to be selected through collaboration with NYC’s Office of Emergency Management, NY State’s Office of Emergency Management, and the MTA
Interview structure: “Mental models” approach and “assembly method”
Interviews have a progressive structure where successive questions are used to identify stakeholder’s perceptions as to risk, causality and damage propagation
“Scenario method” leads to a diagram which is then tested through additional interviews
Follow-up interviews
Community meetings

## Slide 23: Optimization Methodology!!
Problem poorly defined
Data is suspect
A lot of assumptions, e.g. about causality
What are we using optimization for?
Low-lying fruit: optimization asks agnostic questions
It usually reveals pitfalls in planning assumptions
Which leads to reevaluation of procedures, etc.
All very good, but WHAT do we do, computationally?

## Slide 24: What do we do??
This is not such an uncommon situation
E.g. it arises in engineering applications
Example: design a machine component
A few critical parameters involved
Suitability of a parameter choice is
computationally expensive
What are appropriate tools?

## Slide 25: High-quality toolsets
Simulation-driven optimization
Trust-region methods
Derivative-free optimization
If we are brave:
Stochastic-gradient methods
If we are very brave:
Use ML tools to “learn” from simulations

## Slide 26: High-level view of sampling methods

## Slide 27: Thank you!