DEFND Protocol on GBM Tissue

- Prepare reagents:

- LIS solution (100 mM lithium diiodosalicylate (Sigma: D3635) in H2O)

- 100 mM DTT

- Nuclei Isolation Buffer (NIB)

  - 500 µL Tris (1M) pH 7.0

  - 100 µL NaCl (5M)

  - 150 µL MgCl2 (1M)

  - 500 µL 10% Igepal

  - 48.75 mL H2O

- Pefabloc (1 mg/mL) in H2O

- Nuclei Wash Buffer Stock

  - 49.35 mL H2O

  - 500 µL Tris (1M pH 7.0)

  - 150 µL MgCl2 (1M)

- Nuclei Wash w/RNAse inhib

  - 10 mL Nuclei Wash Stock

  - 20 µL SUPERasin

- DEFND Buffer (200 µL)

  - 50 µL Pefabloc (1 mg/mL)

  - 25 µL SUPERasin

  - 125 µL LIS solution (100mM)

  - 800 µL NIB

- 10x Nuclei Buffer

  - 5 µL 10x Genomics 20x nuclei buffer

  - 1 µL DTT (100mM)

  - 2.5 µL SUPERasin

  - 91.5 µL H2O

- Pre cool a centrifuge to 4 °C

- Fill homogenizer with 1 mL DEFND Buffer. Place homogenizer on ice.

- Place tissue in solution

- Dounce 5x with tight (A) and 5x with loose (B) homogenizers

- Incubate 5 minutes

- Add 10 mL of Nuclei Wash w/RNAse inhib

- Put 5 – 10 35 µm filters on ice

- Filter homogenized product through 35 µm filters

- Combine filtrate and spin down 300 g for 5 min at 4 °C

- Carefully remove supernatant

- Resuspend in 10 – 100 µL of 10x Nuclei Buffer, pipette mix at least 20x

- Take 5 µL of nuclei and mix with 5 µL of SYBR 2x. Deposit the 10 µL into a Countess slide and count nuclei

- Calculate the appropriate cell number and follow the 10x Genomics Multiome (10x Genomics #1000285, #1000230, #1000215) protocol

DEFND Protocol on Adherent Cultured Cells

- Prepare reagents:

- LIS solution (100 mM lithium diiodosalicylate (Sigma: D3635) in H2O)

- 100 mM DTT

- NIB

  - 500 µL Tris (1M) pH 7.0

  - 100 µL NaCl (5M)

  - 150 µL MgCl2 (1M)

  - 500 µL 10% Igepal

  - 48.75 mL H2O

- Pefabloc (1 mg/mL) in H2O

- Nuclei Wash Buffer Stock

  - 49.35 mL H2O

  - 500 µL Tris (1M pH 7.0)

  - 150 µL MgCl2 (1M)

- Nuclei Wash w/RNAse inhib

  - 10 mL Nuclei Wash Stock

  - 20 µL SUPERasin

- DEFND Buffer (200 µL)

  - 10 µL Pefabloc (1 mg/mL)

  - 25 µL LIS solution (100mM)

  - 5 µL SUPERasin

  - 160 µL NIB

- 10x Nuclei Buffer

  - 5 µL 10x Genomics 20x nuclei buffer

  - 1 µL DTT (100mM)

  - 2.5 µL SUPERasin

  - 91.5 µL H2O

- Pre cool a centrifuge to 4 ºC

- Rinse cells with 10 mL PBS

- Suspend cells by adding 3 mL TrypLE or enough to cover the cell containing dish

- Place dish in incubator for 5 minutes or until cells are no longer adherent

- Add 10 mL PBS

- Spin cells down (300 g for 5 min)

- Remove supernatant

- Add 200 µL DEFND Buffer, mix, place tube on ice for 5 minutes

- Add 10 mL Nuclei Wash w/RNAse inhib

- Spin nuclei down (300 g for 5 min)

- Resuspend in 10 – 100 µL of 10x Nuclei Buffer, pipette mix at least 20x

- Take 5 µL of nuclei and mix with 5 µL of SYBR 2x. Deposit the 10 µL into a Countess slide and count nuclei

- Calculate the appropriate cell number and follow the 10x Genomics Multiome (10x Genomics #1000285, #1000230, #1000215) protocol

LAND (gDNA Only) Protocol with Adherent Cells

- Prepare reagents:

- LIS solution (100 mM lithium diiodosalicylate (Sigma: D3635) in H2O)

- 100 mM DTT

- Nuclei Isolation Buffer (NIB)

  - 500 µL Tris (1M) pH 7.0

  - 100 µL NaCl (5M)

  - 150 µL MgCl2 (1M)

  - 500 µL 10% Igepal

  - 48.75 mL H2O

- Pefabloc (1 mg/mL) in H2O

- Nuclei Wash Stock

  - 49.35 mL H2O

  - 500 µL Tris (1M pH 7.0)

  - 150 µL MgCl2 (1M)

- LAND Buffer (1 mL)

  - 10 µL Pefabloc (1 mg/mL)

  - 25 µL LIS solution (100mM)

  - 160 µL NIB

- 10x Nuclei Buffer

  - 5 µL 10x Genomics 20x nuclei buffer

  - 1 µL DTT (100mM)

  - 94 µL H2O

- Pre cool centrifuge to 4 °C

- Rinse cells with 10 mL PBS

- Suspend cells by adding 3 mL TrypLE or enough to cover the cell containing dish

- Place dish in incubator for 5 minutes or until cells are no longer adherent

- Add 10 mL PBS

- Spin cells down (300 g for 5 min)

- Remove supernatant

- Add 200 µL LAND solution, mix, place tube on ice for 5 minutes

- Add 10 mL Nuclei Wash

- Spin nuclei down (300 g for 5 min)

- Resuspend in 10 – 100 µL of 10x Nuclei Buffer, pipette mix at least 20x

- Take 5 µL of nuclei and mix with 5 µL of SYBR 2x. Deposit the 10 µL into a Countess slide and count nuclei

- Calculate the appropriate cell number and follow the 10x Single Cell ATAC (10x Genomics #1000176, #1000162, and #1000212) protocol